SCOPE OF WORK

for

VIDEO SYSTEM in AUDITORIUM

at OHIO COUNTY COMMUNITY CENTER

3 Projectors to be mounted on the ceiling.

1 Projector mounted in the center to display on large screen on stage.

2 Projectors mounted in ceiling on each side to display on wall.

1 Large screen on stage area. Apx 7x11 (Roll down) There is a mount on the stage already that should be used if feasible. Base the actual size of the screen on the screen mount. Screen should be electric.

Wiring to run to Sound/Video Room in back of auditorium.

Computer needed to run the above from the Sound/Video Room.

Quote #1: 3 projectors will display same data on screen and 2 walls.

Software to allow laptop on stage to control projectors. Software to allow Judge and Magistrates laptops to view what is being projected.

Quote #2: Each projector shall have the capibility to display different data.

Software to allow laptop on stage to control projectors. Software to allow Judge and Magistrates laptops to view what is being projected.

Note: Projectors are to be setup to be controlled either in the Sound/Video Room or on stage by laptop.

SCOPE OF WORK

for

SOUND SYSTEM in AUDITORIUM

at OHIO COUNTY COMMUNITY CENTER

Six microphones to set on tables (table mic stands) that will be placed on the stage area.

Two (stand) microphones to use on the floor directly below the stage.

Two wireless microphones.

Speakers should be placed in the most advantageous place for maximum quality sound. Clearly list number of speakers quoted and location of speakers.

All equipment should be wired to be controlled in the Sound/Video Room.

Sound system requirement should accommodate the auditorium?

What would be the additional cost be to have all microphone wireless?

SCOPE OF WORK

for

LIGHTING in AUDITORIUM

at OHIO COUNTY COMMUNITY CENTER

5 spot lights, to disperse light on the stage area (evenly) to be mounted on existing brackets. Controlled by switch on stage area with dimmer.

Discuss the extra cost, if any, to allow lighting to also be operated in the control room.