# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		MAY 19, 2011

SUBJECT:	APPROVAL OF CHANGE ORDER #5, RADCLIFF ELEMENTARY SCHOOL RENOVATION, PHASE 3.

ISSUE:  The Board needs to approve a change order #5 for Radcliff Elementary School renovation (Phase 3)

# FACTS

There is a need to relocate an interior 4” storm line to avoid foundations for new interior wall partitions.  This existing line drains the existing courtyard.

Additionally, there is a need to remove an existing 1-1/2 sanitary line within the Media Center and install new 2” sanitary line as required per Kentucky Plumbing Code.  Patch and repair existing floor to receive new finishes.  Existing construction documents indicated an existing 3” sanitary line; however, upon review after demolition, the line was found to be 1-1/2”.  Kentucky code requires a minimum 2” sanitary line under the slab.    This change order amount is $5,130.

(See attached documentation).

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE THE CHANGE ORDER#5 for Radcliff Elementary School Renovation, Phase 3.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE THE CHANGE ORDER#5 for Radcliff Elementary School Renovation, Phase 3.