# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		AUGUST 18, 2011

SUBJECT:	APPROVAL OF CHANGE ORDER #8, RADCLIFF ELEMENTARY SCHOOL RENOVATION, PHASE 3.

ISSUE:  The Board needs to approve a change order #8 for Radcliff Elementary School renovation (Phase 3)

# FACTS

Upon conducting earthwork as required for new site development at the front (East) area of the building, the contractor discovered that the existing 6” fire protection piping was not located as indicated on the site survey.  The existing location of the fire protection piping interferes with the new curb inlet, and therefore requires relocation.  This change will result in an addition to the contract by $2,503.00.  (See attached documentation).

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE THE CHANGE ORDER#8 for Radcliff Elementary School Renovation, Phase 3.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE THE CHANGE ORDER#8 for Radcliff Elementary School Renovation, Phase 3.