# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		SEPTEMBER 15, 2011

SUBJECT:	APPROVAL OF REVISED BG1 FOR THE JOHN HARDIN BASEBALL/SOFTBALL AND CONCESSION/RESTROOMS PROJECT

ISSUE:  The Board needs to approve a revised BG1for John Hardin Baseball/softball concession and restrooms project.

# FACTS

The current BG1 has a contingency of only $8,250.  This would have been sufficient to have covered change orders 1.1 and 1.2.

| 1.1 - Add two floor grease traps and change from plastic laminate cabinet to stainless steel three compartment sink. This change is a request by local code enforcement officials. | $3,770.00 |
| --- | --- |
| 1.2 - Add transformer to convert available site electricity to voltage (480 to 120/240 volts) to accommodate building needs. | $3,505.00 |

However, due to the requirement by Hardin County Water to add an additional meter and water line to supply the facility, there is a need to increase the contingency by an additional $10,828.

| 1.3 - Add of water meter and approximately 400 feet of water service line to the building. This is a requirement by Hardin County Water | $10,828.00 |
| --- | --- |

The attached revised BG1 indicates an increase in contingency by $10,828.  The revenue source will be Capital Outlay.

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE CHANGE the revised bg1 with an increase of $10,828 in contingency using capital outlay as the revenue source.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE the revised bg1 with an increase of $10,828 in contingency using capital outlay as the revenue source.