08/08/06 TUB 13:50 FAX 2707652148	PFGW ARCHITECTS
~f?~'Y/Jlr	.	.
	::..:,.',...
II
":!i
>.";'	.	McNutt c;onstrud:~n Company
	P.O. Box 431 Blizabethtown. Kentucky. 42702
August 2. 2006
Peck, Flannery. Oream & WaITen 112 North Main Street Elizabethtown, Kentucky 42701
ATTN: Larry Gream
RE: Construction of
Sonora/Upton Elementary School (Creekside Elementary)
Sonora, Kentucky
Dear Larry:
-+++ HARDIN CO BOARD ~002
(270) 737-8518 FAU((270)737-0307
Per your request for proposal dated July 20, 2006, to add 5 each ventilation pipes to the Cooler/Freezer Condensate Unit Enclosure please add $806.00.
Cost Breakdown
Capital Sawing & Drilling Material
Labor
Bond Premium 1% Overhead & Profit 15% TOTAL
$365.00
	25.00
	304.00
	7.00
	105.00
$806.00
We have planned on wet drilling these holes. If you have any questions or need any further information please contact me at our office.
Sincerely,
Mark McNutt, President. MM:1t
Equal OpporlunlJylA,Oin/latl"e Action Employer

08/08/06 TUB 13:51 FAX 2707652148 ~
PFGW ARCHITECTS
+H HARDIN CO BOARD ~ 003
-,
:'~-;'t... " ...;
PECK FlANNERY GREAM WARREN INC. arc hit e c t 5
	Limy Cream, Architect
July 20, 2006
Mark McNutt
McNutt Construction
P. O. Box 431
Elizabethtown. Kentucky 42701
RE: Bid Package "B", Building Creekside Elementary School BG #04-247
PFGW Project # 0350
Dear Mark:
Attached is our drawing MOD-23 dated July 18. This drawing details installing five 3"
diam. schedule 40 pipe sleeves in the masonry walls at the coolerlfreezer condensation units. The purpose of adding these holes is to promote additional air circulation in and around the condensation units during the summer months.
Please provide a cost to install these pipe sleeves.
Let me know -if you have any questions regarding this transmittal.
-.....
c: David Wyatt
	Bill Day
112 North Main Street. Elizabethtown, Kentucky 42701 270.765.2147 P . 270.765.2148 f . www.pfgwarchitects.coll1

PFGW ARCHITECTS	-+++ HARDIN CO BOARD	III 004
<~~
TYP. DRILL 4'-'21 ~LE T~~ MASONRY WALL 4 INSTALL 31 SCI-I. 40 PVC SLEEVE. MORTAR SLEEve IN CENTER 01= 4v21 ~LE
(& LOCATIONS AS SHOLlN BELOW. el AFF.
~'.4'
~'-41
	§1
	I
-=
COND. UMIT5
CONDo UMIT5
OCK
- .
'-,
NEW VENTILATION FOR COOLERIFREEZER COND. UNIT5
SCAL-E. 1121 · 1'."1
CREEKSIDE ELEM. SCHOOL	03&"	
	1M1E	
Peck Rannery Grearn Warren Inc.	JUL Y Ie, 2	
architects	MOD. 23	
II NarII......., 'M,. Q7Qt