THIS IS A DECISION PAPER

TO:		Hardin County Board Of Education Members

FROM:	Nannette Johnston, Superintendent

DATE:	november 17, 2011

SUBJECT:	chANGE ORDERs 3.1 – 3.5 vINE gROVE eLEMENTARY sCHOOL rENOVATION pROJECT

ISSUE

The Board needs to approve change orders 3.1 - 3.5 for the Vine Grove Elementary School Renovation Project

FACTS

Below is a summary of change orders, the reason and cost associated with each item.  The total cost of these change orders is a credit of $9,287.

|  | Item | Reason For Change | Amount |
| --- | --- | --- | --- |
| 3.1 | Adjustment of geothermal well casings per boring logs. | The amount of casing used was less than required by contract documents. | Credit of $45,705.00 |
| 3.2 | Revise classroom casework for twenty classrooms by including “cubbies” in lieu of hooks and rods. Additionally; upon review a number of casework locks were deleted and door and drawer pulls were changed providing a credit. | School personnel requested that “cubbies” be included in the plastic laminate classroom casework in lieu of hooks and rods as provided by contract documents. | Add of $19,396.00 |
| 3.3 | Change the primary electrical conduit from existing pole transformer to the existing transformer pad from 3” diameter to 4” diameter. | The request for changing the conduit from the existing pole transformer (off site) to the existing (on site) transformer pad was requested by Kentucky Utilities after project had been bid. | Add of $16,237.00 |
| 3.4 | Delete DVR from project. | Steve Boone upon reviewing shop drawings determined that a DVR to record security cameras was not desired and asked for a credit (via email 08/11/2011). | Credit of $1,768.00 |
| 3.5 | Revised the art classroom kiln exhaust from a roof exhaust to a wall exhaust. | Upon reviewing the kiln exhaust fan location (on the roof per the contract documents) the owner requested the fan be re-configured to a wall exhaust to avoid less roof penetration. | Add of $2,553.00 |
|  |  |  | Credit of $9,287.00 |

RECOMMENDATION

I recommend the Hardin County Board of Education Approve the change orders 3.1- 3.5 for the vine grove renovation project for a total credit of $9,287.

RECOMMENDED MOTION

I move the Hardin County Board of Education Approve the change orders 3.1- 3.5 for the vine grove renovation project for a total credit of $9,287.