# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		AUGUST 16, 2012

SUBJECT:	APPROVAL OF CHANGE ORDERS 6.1-6.4 FOR VINE GROVE ELEMENTARY RENOVATION PROJECT

ISSUE:  The Board needs to approve change orders 6.1-6.4 for the Vine Grove Elementary School Project.

# FACTS:

The Kentucky Department of Education requires that the Local Board of Education approve Change Orders on projects prior to their approval.  A summary of change orders 6.1-6.4 are listed below and supporting documentation is attached.

|  | Item | Reason For Change | Amount |
| --- | --- | --- | --- |
| 6.1 | Remove and patch block wall in a former chase area on exterior wall of kitchen. | After demolition of existing masonry walls had been performed in the Kitchen the roughness of the wall at this location created a needed for remedial work. | $1,346.00 |
| 6.2 | Provide the boiler permit for the owner installed kitchen steam kettle. | A boiler permit is required to reconnect the existing steam kettle. The contractor was asked to provide the permit. | $872.00 |
| 6.3 | Remove and reinstall five shunt trip breakers for shutdown of equipment under kitchen hood when fire suppression system is activated. | During construction the electrical contractor discovered that shunt trip breakers were not specified. This change is a portion of the cost of the shunt trip breakers had they been specified. | $2,093.00 |
| 6.4 | Fireproof the paper/wire decking in the original kitchen area. | During renovations when existing kitchen plaster ceiling was removed discovery was made that the roof decking is flammable. Spraying the decking provides needed fire protection. | $4,326.00 |
| TOTAL ADD | $8,637.00 |

(See attached documentation).

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE CHANGE ORDERs 6.1-6.4 for Vine Grove Elementary School Renovaton project in the amount of $8,637.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE CHANGE ORDERs 6.1-6.4 for Vine Grove Elementary School Renovaton project in the amount of $8,637.