# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		FEBRUARY 19, 2013

SUBJECT:	APPROVAL OF CHANGE ORDERS 2.1 – 2.6 NORTH HARDIN HIGH SCHOOL PHASE 5 RENOVATION.

ISSUE:   The Board needs to approve change orders 2.1-2.6 for North Hardin High School Renovation (Phase 5).

# FACTS

The Kentucky Department of Education requires that the Local Board of Education approve Change Orders on projects prior to their approval.  A summary of change orders 2.1-2.6 are listed below and supporting documentation is attached.

|  | Item | Reason For Change | Amount |
| --- | --- | --- | --- |
| 2.1 | Modification to the exterior concrete slab layout included sidewalk at front and rear of new addition to building and new location for the handicap ramp. | Instructions issued by Architect in MOD Drawing #5, dated 4/29/11. Additional sidewalk and ADA ramps added. | $3764.00 |
| 2.2 | Architect requested contractor to relocate roof top units CU-12 and CU-13 as visibility from road was excessive. | Work requested and authorized by Architect on a T&M basis. | $15,616.00 |
| 2.3 | Repair existing masonry HVAC vents on outside of building. | Work requested by Architect as vents were no longer required by previous demolition of the unit ventilators. | $3,268.00 |
| 2.4 | Request by Architect to infill interior brick recesses. | Requested and preferred by Architect as infill made existing exposed brick walls more appealing. | $1,178.00 |
| 2.5 | Credit for 5 blue spruce trees. | Architect required credit for these trees as those that did not die were installed crooked. | ($825.00) |
| 2.6 | Demolition and replacement of the existing tennis courts with new tennis courts per Owner, Architect, and Engineers requirements. Drawings provided by Engineering Design Group, dated 10/24/11. | Work requested by Owner as existing courts were unusable in their existing condition. Work performed on an emergency basis. | $327,768.75 |
| TOTAL ADD | $350,769.75 |

(See attached documentation).

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE THE CHANGE ORDERs 2.1 – 2.6 for North hardin high school (phase 5) renovation in the amount of $350,769.75 total cost.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE THE CHANGE ORDERs 2.1 – 2.6 for North hardin high school (phase 5) renovation in the amount of $350,769.75 total cost.