# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		AUGUST 14, 2014

SUBJECT:	APPROVAL OF CHANGE ORDERS 7.1 AND 7.2  FOR HARDIN COUNTY SCHOOLS EARLY COLLEGE AND CAREER CENTER

ISSUE:  The Board needs to approve change orders 7.1 and 7.2 for the Hardin County Schools Early College and Career Center Project.

# FACTS:

The Kentucky Department of Education requires that the Local Board of Education approve Change Orders on projects prior to their approval.  A summary of change orders 7.1-7.2 are listed below and supporting documentation is attached.

|  | Item | Reason For Change | Amount |
| --- | --- | --- | --- |
| 7.1 | Install flush panels at rear canopy entrance | Owner requested that only exterior exposed block area on building be covered with matching panels. This will match other gray metal panels installed in this area. | $5,231.00 |
| 7.2 | Install 4” balance valve in hydronic system. | Architect/Engineer approved addition to hydronic piping to make water flow to remote heat pumps more efficient. | $3,765.29 |
| TOTAL ADD | $8,996.29 |

(See attached documentation).

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE CHANGE ORDERs 7.1-7.2 for HARDIN COUNTY SCHOOLS EARLY COLLEGE AND CAREER CENTER project in the amount of $8,996.29.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE CHANGE ORDERs 7.1-7.2 for HARDIN COUNTY SCHOOLS EARLY COLLEGE AND CAREER CENTER project in the amount of $8,996.29.