# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	Nannette Johnston, Superintendent

DATE:		AUGUST 20, 2015

SUBJECT:	APPROVAL OF CHANGE ORDERS 2.1 – 2.13 NORTH HARDIN HIGH SCHOOL (PHASE 7) PROJECT.

ISSUE:   The Board needs to approve change orders 2.1 – 2.13 for the North Hardin High School Renovation (Phase 7).

# FACTS

The following is a listing of Change Orders 2.1 - 2.13 for North Hardin Phase 7:

| # | ITEM DESCRIPTION | Amount |
| --- | --- | --- |
| 2.1 | Per Contractor’s RFCO#7, cost to replace irrigation water line as directed in response to RFI #36. Add of $3,893.00 (0 days) | $3,893.00 |
| 2.2 | Per Architect’s Proposal Request #5 (item 2), and Contractor’s RFCO#8, cost to reinforce roof joist at existing Mechanical Room 319. Add of $2,265.00 (0 days) | $2,265.00 |
| 2.3 | Per Contractor’s RFCO#9, cost to move football field sprinkler controls from the exterior of the Fieldhouse into Mechanical Storage F104. Add of $1,401.00 (0 days) | $1,401.00 |
| 2.4 | Per Contractor’s RFCO#10, cost to move football field lighting disconnects from exterior of the Fieldhouse into Mechanical/Storage F104. Add of $1,936.00 (0 days) | $1,936.00 |
| 2.5 | Per Architect’s Proposal Request #5 and Contractor’s RFCO#11, credit for deletion of painting of large gym ceiling, structure, sprinkler pipe, and existing mechanical and electrical systems. Deduct of $7,185.00 (0 days) | ($7,185.00) |
| 2.6 | Per Contractor’s RFCO#12, cost to add one FD-2 drain at the Fieldhouse in response to RFI#12. Add of $1,991.00 (0 days) | $1,991.00 |
| 2.7 | Per Contractor’s RFCO#13, cost to add fire dampers per response to RFI#4. Add of $1,662.00 (0 days) | $1,662.00 |
| 2.8 | Per Contractor’s RFCO#14, cost for revisions required by the State’s review of plumbing drawings. Add of $2,331.00 (0 days) | $2,331.00 |
| 2.9 | Per Contractor’s RFCO#15, cost to add lavatory in Concessions per response to RFI#24. Add of $2,623.00 (0 days) | $2,623.00 |
| 2.10 | Per Architect’s ASI#3 and Contractor’s RFCO#16, cost to provide grilles in the Fieldhouse soffit. Add of $821.00 (0 days) | $821.00 |
| 2.11 | Per Contractor’s RFCO#17, cost to rework 6” water main to miss new building addition. Add of $4,670.00 (0 days) | $4,670.00 |
| 2.12 | Per Contractor’s RFCO#18, cost to increase site sewer sizes to meet actual sizes of existing systems. Add of $1,470.00 (0 days) | $1,470.00 |
| 2.13 | Per Contractor’s RFCO#19, credit to change video surveillance system from Milestone to Video Insight, and change cameras from Axis to Advidia. Deduct of $12,344.00 (0 days) | ($12,344.00) |
|  | TOTAL | $5,534.00 |

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE THE CHANGE ORDERs 2.1 – 2.13 for North hardin high school (phase 7) renovation in the amount of $5,534.00 total cost.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE THE CHANGE ORDERs 2.1 – 2.13 for North hardin high school (phase 7) renovation in the amount of $5,534.00 total cost.