# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:		Nannette Johnston, Superintendent

DATE:		SEPTEMBER 17, 2015

SUBJECT:	APPROVAL OF CHANGE ORDERS 3.1 – 3.8 NORTH HARDIN HIGH SCHOOL (PHASE 7) PROJECT.

ISSUE:   The Board needs to approve change orders 3.1 – 3.8 for the North Hardin High School Renovation (Phase 7).

# FACTS

The following is a listing of Change Orders 3.1 – 3.8 for North Hardin Phase 7:

| # | ITEM DESCRIPTION | Reason | Amount |
| --- | --- | --- | --- |
| 3.1 | Per architects proposal request #2 and contractors RFCO #6, provide solid core, phenolic toilet partition doors in lieu of specified hollow metal frames and doors. | Owner preference. | $0 |
| 3.2 | Per contractors RFCO #20, modify area C roof and during for improved drainage. | Correction of found condition, to improve drainage. | $18,973.00 |
| 3.3 | Per contractors RFCO #21, provide new gas line to emergency generator. | Satisfies a new utility requirement from LGE. | $21,188.00 |
| 3.4 | Per contractors RFCO #22, provide mud bed under Fieldhouse shower floors. | Owner’s request | $1,679.00 |
| 3.5 | Per contractors RFCO #24, add a second Cat6 cable to each WAP outlet, per the electrical engineers request. | Owner’s request | $4,647.00 |
| 3.6 | Per contractors RFCO #25, modify existing Joyce bracing and locker room to accommodate HVAC ductwork insulation | Secure installation of HVAC ductwork. Unknown condition. | $2,237 .00 |
| 3.7 | Per contractors RFCO #27, expand electrical ductwork trench from greenhouse power pole to the existing power pole near the tennis courts. | Satisfies utility requirement from LGE. | $2,818.00 |
| 3.8 | Per architects proposal request #eight and contractors RFCO #28, revise chain-link fence layout and add Gates. | Owner’s request for (storage) under bleachers. | $5,865.00 |
|  | TOTAL | TOTAL | $57,407.00 |

# RECOMMENDATION

I RECOMMEND THE BOARD APPROVE THE CHANGE ORDERs 3.1 – 3.8 for North hardin high school (phase 7) renovation in the amount of $57,407.00 total cost.

RECOMMENDED MOTION

# I MOVE THE BOARD APPROVE THE CHANGE ORDERs 3.1 – 3.8 for North hardin high school (phase 7) renovation in the amount of $57,407.00 total cost.