SPENCER COUNTY SCHOOLDISTRICT

Agenda Item

# Item #  _____________________________	Meeting Date __4/25/2016_____

# Topic/Title       _SCMS WEIGHT ROOM______________________________

Presenter  ____JIM OLIVER_______________________________________

## Origin

____ __  Topic presented for information only (no board action required).

__X    _  Action requested at this meeting.

_____ Item is on the consent agenda for approval.

____ __  Action requested at future meeting, ___________________ (date).

___ ___ Board review required by –

____ _  State or federal law or regulation

______  Board of Education policy

_____    Other  _________________________________________________

## Previous Review, Discussion or Action

_____ No previous Board review, discussion or action

___ __   Previous review or action

Date  __________________ ______________________________________

Action  ______________________________________ ________________

Background/Summary of Information:

Mr. Mercer has requested to use the stage between the gym and dining room to build two walls and make this area into a weight room.  We would have to remove one set of the folding doors for one wall, and we would keep the doors and track in case they need to be re-installed.  The other wall would split the stage area.   We would have to frame in an exit door in this wall and add some switches for the lights.  These walls will be built out of 5/8 fire rated drywall, aluminum studs and lassco board.  The estimated cost on this project is between $2,100 and $2,300.  A BG-1 is not required for this project, but board approval is.

Impact on Resources (REQUIRES FINANCE OFFICER’S INITIALS OF REVIEW).

_vg__ Finance Officer

Timetable for Review or Action.

SUPERINTENDENT’S RECOMMENDATION

Recommend modification to the facility as requested.