# THIS IS A DECISION PAPER

TO:		HARDIN COUNTY BOARD OF EDUCATION

FROM:	RICHARD HUGHES

DATE:	July 21, 2005

SUBJECT:	CHHS HVAC Rooftop Unit Replacement

ISSUE

Two HVAC units on the CHHS roof are leaking rainwater into the building.

# FACTS

Although the units are 30 years old, they are still working well. The seals under the units, however are leaking badly into the hallway and cafeteria areas below. Repair attempts without removing the units have failed. We have not been able to get a contractor to remove, repair the damage, and reinstall the old units. That procedure would be questionable anyway on a unit whose life expectancy is 25-30 years. We have asked our mechanical engineers to recommend replacement units. They have recommended that we replace the units with a newer type unit that will be more efficient and also be more flexible in cooling the building in zones. The estimated cost of the two units installed is $218,000. This does not include the engineering fees. We have budgeted $200,000 in the General Fund for the project and may need to add to that amount in the working budget if the prices come in as high as expected. This will require a BG-1 approved by the Board and KDE. Declaring this an emergency will expedite approvals and allow the work to be completed during fall break.

# RECOMMENDATION

Approve an emergency BG-1 for two HVAC units replacement on the roof of Central Hardin High School.

RECOMMENDED MOTION

I move that the Hardin County Board of Education approve the emergency BG-1 for two HVAC units replacement on the roof of Central Hardin High School.