M E M O R A N D U M

TO:		Randy Poe, Superintendent

Maria Brown, Chairperson

Board Members

DATE:	November 2, 2016

RE:	Change Order #3 - Conner Middle School – HVAC Upgrades BG#16-087

Six changes were made to the contract for this project.

Proposal 10 – Removing the existing ceiling in 313D and install a new ceiling.  Add - $500

Proposal 11 - Replacing some of the existing diffusers and grills which were found to be in bad shape due to their age (rusted, bent, etc.)  Add - $940

Proposal 12 – Metal shroud around the pipes that come through the Multi-Purpose Room wall and immediately turn up into ceiling.  The ceiling in the Multi-Purpose room is higher than the ceiling in the corridor so the pipes could not run down the corridor and into the ceiling in the Multi-Purpose room.  Add - $347

Proposal 13 – Miscellaneous electric items (relocating two receptacles for projectors into the ceiling to meet code and extend power to unit in stair #2).  Add - $889

Proposal 14 – Removing and reinstalling wire mold and data lines removed/damaged by the abatement contractor.  Add - $375

Proposal 16 – Wiring the condenser pumps in the vestibule and three classrooms.   Add - $288

Total change order amount – Add - $3,339

I recommend the board accept CO#3, as presented.

Eric K. McArtor

Chief Operating Officer/Deputy Superintendent