M E M O R A N D U M

TO:		Randy Poe, Superintendent

Ed Massey Chairperson

Board Members

DATE:	September 5, 2017

RE:	Change Order #3 – Central Office Annex

BG#17-017

There are four changes to the above project.

Proposal #16 – Five parking blocks required by the building department so no one parks in front of the exit doors and blocks them.  Add - $730

Proposal #17 – Additional rail at the stairs next to the Annex building and (4) bollards in front of exterior doors 100A, 300A, 400 and 400-1.  Add - $2,949

Proposal #18 – Credit for adjusting the allowance for miscellaneous conduit and wiring for access controls which did not need to be utilized.

DEDUCT - $2,000

Proposal #19 – Credit for adjusting the allowance for unknown wiring and plumbing in existing partitions which did not need to be utilized.

DEDUCT - $5,000

Total amount of change order – DEDUCT - $3,321

I recommend the board accept CO#3, as presented

______________________________________

Mike Poiry

Assistant Superintendent, Operations