## District Summary
District Energy Summary
Dawson Springs Indep. Schools |  |  | (Elementary,Middle,HS buildings) |  |  | Baseline = FY2010
Total Energy Usage (kBTU) |  |  | Fiscal Years |  |  | Change | TDD= SUM OF HEATING AND COOLING DEGREE DAYS
Month | Baseline | 2015 | 2016 | 2017 | 2018 | from previous yr. | MONTHS | % Change | FY 2018 | FY 2017 | FY 2016
July | 315547.597 | 301638.568 | 399508.768 | 390721.616 | 368789.968 | -5.613% | Month | FY2018vs2017 | TDD | TDD | TDD
August | 550366.4135 | 497075.4 | 499089.9 | 535386.34 | 414589.316 | -22.56% | July | -6.25% | 600 | 640 | 617
September | 497669.6671 | 414849.412 | 451857.336 | 513192.6 | 447084.708 | -12.88% | August | -23.92% | 474 | 623 | 456
October | 363496.3457 | 311879.696 | 327119.696 | 331310.468 | 312616.196 | -5.643% | September | -26.21% | 321 | 435 | 360
November | 364991.5458 | 486278.236 | 437925.736 | 345927.964 | 358034.616 | 3.5% | October | 16.16% | 266 | 229 | 175
December | 658669.7368 | 579754 | 380238.284 | 527879.084 | 479700.284 | -9.127% | November | 18.57% | 364 | 307 | 256
January | 899114.1533 | 789680.876 | 578456.992 | 612221.804 | 714602.204 | 16.72% | December | 4.559% | 688 | 658 | 339
February | 789930.9081 | 736160.956 | 606499.496 | 466678.532 | 595986.332 | 27.71% | January | 68.53% | 846 | 502 | 781
March | 709718.8023 | 647164.836 | 429428.472 | 296387.548 | 402014.132 | 35.64% | February | 28.24% | 436 | 340 | 528
April | 387482.0338 | 365847.04 | 400260.3 | 336284.624 | 362630.964 | 7.835% | March | 9.091% | 384 | 352 | 268
May | 495429.2671 | 418841.74 | 408049.992 | 359412.116 | 411462.492 | 14.48% | April | 26.36% | 278 | 220 | 213
June | 387042.5868 | 354512.44 | 384093.644 | 294814.468 | 337502.368 | 14.48% | May | 64.26% | 455 | 277 | 251
Average | 534954.9214 | 491973.6 | 441877.3847 | 417518.097 | 433751.1317 | 3.888% | June | 25.34% | 559 | 446 | 640
Total | 6419459.0573 | 5903683.2 | 5302528.616 | 5010217.164 | 5205013.58 | N/A | Yr.Total | 17.06% | 5671 | 5029 | 4884
Total Electricity Usage (kWh) |  |  | Fiscal Years |  |  | Change
Month | Baseline | 2015 | 2016 | 2017 | 2018 | from previous yr.
July | 89164 | 84364 | 112264 | 109568 | 103864 | -5.206%
August | 154268 | 141975 | 138675 | 150670 | 115568 | -23.3%
September | 136585 | 114076 | 122178 | 138375 | 119784 | -13.44%
October | 98780 | 84983 | 84383 | 87089 | 84083 | -3.452%
November | 93702 | 112603 | 106303 | 88297 | 83793 | -5.101%
December | 83800 | 86800 | 82007 | 100307 | 101507 | 1.196%
January | 93392 | 114398 | 105691 | 93692 | 99692 | 6.404%
February | 99606 | 124588 | 101183 | 83486 | 91286 | 9.343%
March | 99681 | 81978 | 93981 | 81679 | 85886 | 5.151%
April | 101173 | 85570 | 95475 | 88577 | 75972 | -14.23%
May | 133570 | 108370 | 95466 | 93968 | 105966 | 12.77%
June | 107160 | 97870 | 105062 | 80464 | 92764 | 15.29%
Average | 107573.4167 | 103131.25 | 103555.6667 | 99681 | 96680.4167 | -3.01%
Total | 1290881 | 1237575 | 1242668 | 1196172 | 1160165 | N/A
Total Natural Gas Usage (ccf) |  |  | Fiscal Years |  |  | Change
Month | Baseline | 2015 | 2016 | 2017 | 2018 | from previous yr.
July | 110.01 | 134 | 160 | 164 | 140 | -14.63%
August | 233.275 | 123 | 252 | 207 | 197 | -4.831%
September | 307.499 | 249 | 340 | 399 | 373 | -6.516%
October | 257.133 | 213 | 381 | 332 | 250 | -24.7%
November | 440.042 | 992 | 731 | 434 | 948 | 118.4%
December | 3622.392 | 2756 | 976 | 1804 | 1814 | 0.5543%
January | 5641.017 | 3881 | 2117 | 2843 | 4063 | 42.91%
February | 4373.909 | 3023 | 2539 | 1767 | 3078 | 74.19%
March | 3591.907 | 3571 | 1057 | 172 | 1334 | 675.6%
April | 410.882 | 718 | 724 | 331 | 1135 | 242.9%
May | 385.699 | 477 | 800 | 377 | 485 | 28.65%
June | 208.092 | 200 | 249 | 197 | 204 | 3.553%
Average | 1631.8214 | 1361.4167 | 860.5 | 752.25 | 1168.4167 | 55.32%
Total | 19581.857 | 16337 | 10326 | 9027 | 14021 | N/A
Total Cost Gas and Electric ($) |  |  | Fiscal Years |  |  | Change from
Month | 2014 | 2015 | 2016 | 2017 | 2018 | Prev. YR
July | 8854 | 6915 | 9518 | 9772 | 10323 | 5.639%
August | 11218 | 11659 | 11379 | 13286 | 11603 | -12.67%
September | 10172 | 9752 | 10983 | 12367 | 10819 | -12.52%
October | 9422 | 7972 | 8481 | 9590 | 8829 | -7.935%
November | 10819 | 9464 | 9608 | 9121 | 9222 | 1.107%
December | 11634 | 9721 | 8806 | 11064 | 11321 | 2.323%
January | 12515 | 12504 | 11364 | 11489 | 13806 | 20.17%
February | 10557 | 11869 | 11106 | 10132 | 12023 | 18.66%
March | 9896 | 9923 | 10067 | 8886 | 9574 | 7.743%
April | 8961 | 7864 | 9465 | 8945 | 9054 | 1.219%
May | 9533 | 9079 | 9604 | 9822 | 9743 | -0.8043%
June | 7988 | 7975 | 8407 | 7941 | 8140 | 2.506%
Average | 10130.75 | 9558.0833 | 9899 | 10201.25 | 10371.4167 | 2.12%
Total | 121569 | 114697 | 118788 | 122415 | 124457 | N/A