M E M O R A N D U M

TO:		Randy Poe, Superintendent

Karen Byrd, Chairperson

Board Members

FROM:	Mike Poiry, Assistant Superintendent

DATE:	February 5, 2019

RE:	Change Order #1 – Gray Middle School – MEP Improvements

BG#17-121

Five changes were made to the contract for this project.

Proposal #1 – Replace the existing carpet in Corridor C3 with VCT tile.

Add - $8,567

Proposal #3R2 – Add tow emergency shutdown switches at the request of the building inspector.  Add - $4,614

Proposal 5 – Add line voltage circuits to the power dampers on the roof and for the frequency drives for the exhaust fans.  The VFD’s were included in the original bid; however, power needed to be added in the field.

Add - $19,540

Proposal #6 – This change order is for time for the contractor on-site to do forensics to determine the location of an existing leak and to implement the necessary corrective measures.  Add - $3,535

Proposal #7R3 – Add nipples and cameraing the existing HVAC piping.  The existing piping had an extreme amount of sediment and these ports were added for future access and for proper diagnosis.  Add - $16,554

Total amount for this change order is $52,810

I recommend the board accept CO#1, as presented.