M E M O R A N D U M

TO:		Randy Poe, Superintendent

Ms. Karen Byrd, Chairperson

Board Members

DATE:	September 3, 2019

RE:	Energy Management Report

Following for your review is an energy management update, which includes data through July of the current school year.   Highlights of the report include (please refer to attached tables):

- Our overall District EUI (Energy Use Intensity in kBtu/square feet) has dropped to a record low of 58.1 for the school year 2018/19!  This is a 10.3% drop in energy usage from the previous school year and a 21.5% EUI drop from our baseline school year of 2009/10.

- Schools of Note:

Mann Elementary had a 32% drop in energy usage in 2018/19 when compared to 2017/18!  This school was retro-commissioned in the summer of 2018.

Collins Elementary and Stephens Elementary had a 33% and 22% drop in energy usage, respectively.  These schools had HVAC system upgrades in the summer of 2018.

Finally, Goodridge Elementary had 18% drop in energy usage with no HVAC or retro-commissioning projects completed.  Our implementation of our district HVAC policies, set-points and schedules appears to be working.

Eric McArtor

Chief Operating Officer/Deputy Superintendent

Boone County Schools Energy Management Update

Total Cost and Use:

Credits/Rebates/Incentives:

| Source | Type | July | YTD | Details |
| --- | --- | --- | --- | --- |
| Duke PowerShare | Credit | $0.00 | $0.00 | Funds were credited directly to Duke electric bill |
| Duke SmartSaver/Owen | Rebates | $0.00 | $0.00 | Funds were mailed directly to District |
| Duke Foundation | Grant | $0.00 | $11,695.85 | Funds will be used for student energy teams and STEM-related initiatives |

Action Items:

ATTACHMENT

Cooling degree days (CDD) are a measure of how much (in degrees), and for how long (in days), the outside air temperature was above a certain level (i.e., 65°F).  As the above table shows, July 2019 was hotter than July 2018.