November 16, 2020

Mr. Greg Dunbar, AIA

Division of District Support

300 Sower Blvd., 4th Floor

Frankfort, KY 40601

Re: 	BG No: 20-136

Hardin County Schools

Central Hardin High School Renovation & Addition (Phase 1)

3040 Leitchfield Road

Cecilia, KY 42724 - Hardin County

702 KAR 4:170 part 2c.1.1.4 – Waiver Request per KAR 4:160

Dear Mr. Dunbar:

We are requesting a waiver in accordance with 701 KAR 4:160 for the rooms identified in your recent Design Development review letter to be out of compliance with 702 KAR 4:170 part 2c.1.1.4, with the following justifications.

- Being a renovation and addition project with limited site constraints, configuration of the building and some of its plan organization has yielded a few rooms that do not fully comply with 702 KAR 4:170 part 2c.1.1.4.

- Allowing the waiver will permit the project to meet the KDE model program of spaces, while minimizing the needs for added square footage dedicated to another egress stair.

- Note that the corridor leading to Classroom B223, B224, and B225 is 15-feet wide, and exceeds the minimum widths listed by Part c.1.1.2 or c.1.1.5.

- While not part of 702 KAR 4:170, the current Kentucky Building Code allows for 50-feet of “dead-end” corridor in an E-Use Group (fully suppressed).  The current depth of Corridor B200 as shown is 29-feet, 4-inches.

- While it does appear Classrooms H201, H203, and H207 do not meet 702 KAR 4:170 part 2c.1.1.4 as part of Phase 1, once Phase 2 is completed the classrooms appear to meet the requirement as well as that of c.1.1.5.  In addition, we will provide an opening as part of Phase 1 between Corridors H200A and H200B (existing).  While not the final design solution, adding the opening should alleviate egress concerns.

We hope this letter has satisfied your comments, and otherwise serves to fulfill our waiver request.  If you have further concerns or any questions, please contact us, and we will address them.

Thank you for your attention to this project.

Respectfully submitted,

Hardin County Schools