## Page 1
| District |  |  | District |  | Facility |  |  |  | School
| Name: | Hardin County Schools |  | Code: |  | Name: |  | Woodland Elementary |  | Code:
| Project Name: |  | Woodland Elementary HVAC and Lighting Upgrade
| PROJECT TYPE: |  | Yes | No |  |  | Gross Building Area (sf.)
New Building
Addition
| Renovation | [5 empty] | 63000
Provisions for Future Expansion:
| Proposed Alternates: |  | (1) | HVAC equipment and controls
(2)
(3)
Describe special conditions, phasing of project and alternates, attach a supplemental sheet, if needed.
BUILDING CONSTRUCTION CHARACTERISTICS:
Description of Building Structure:
Foundation:
Exterior Walls:
Roof Structure:
ENERGY EFFICIENT DESIGN (KRS 157.450 and KRS 157.455):
| 44 |  | Energy Consumption "Existing" (kBtu/sf/yr)
| 38 |  | Energy Consumption Target (kBtu/sf/yr)
| YES | NO
|  |  | LEED Certified |  | Other:
Designed to meet Energy Star
Exceeds ASHRAE 90.1(2007) by 10% (Minimum)
Whole Building Life Cycle Cost Analysis Demonstrating Cost Effective Design
[7 empty] | Life Cycle Cost Analysis Software Used: | Trane Trace
If not yes to one or more of the above, explain why.
Designed to be Net-Zero
Designed to be Net-Zero Ready
Energy Efficient Design Features: ( See List Page 4, or Use Drop Down List)
| East / West Building Orientation |  |  | YES | NO
| Gross Exterior Wall Area (sf): | [7 empty] | Avg. Exterior Wall R-Value:
| Gross Window / Door Area (sf): | [7 empty] | Avg. Window/Door R-Value:
| Gross Roof Area (sf): | [7 empty] | Avg. Roof R-Value:
| Exterior Wall Type: | [8 empty] | Other:
| Roofing Type: | [8 empty] | Other:
| HVAC System Type: |  | B - water source heat pump system with air make up | [6 empty] | Other:
| Classroom Lighting: |  | E - other | [6 empty] | Other: | LED
| Active Daylighting: | [8 empty] | Other:
| Passive Daylighting: | [8 empty] | Other:
| On Site Energy Generation: | [8 empty] | Other:
Energy Efficient Design Features Lists
Exterior Wall Type
A - face brick, captured air space, board insulation and waterproof CMU
B - face brick, captured air space, sprayed insulation on CMU
C - face brick, captured air space, sheathing over metal insulated stud system, interior finish system
D - face brick, ICF poured concrete, interior finish system
E - other, describe
Roofing Type List
A - modified bitumen over rigid insulation
B - EPDM over rigid insulation
C - plastic single ply over rigid insulation
D - metal roofing over nailable deck with insulation
E - asphalt shingle roofing over nailable deck with insulation
F - other, describe
HVAC System Type List
A - two pipe unit ventilator system
B - water source heat pump system with air make up
C - ground source heat pump system with air make up
D - hybrid water source heat pump system with boiler/chiller and well field with air make up
E - variable refrigerant flow (VRF) with air make up
F - hybrid geothermal/variable refrigerant flow (VRF) with air make up
G - variable refrigerant volume (VRV) with air make up
H - hybrid geothermal/variable refrigerant volume (VRV) with air make up
I - chilled beam system
J - hybrid chilled beam/geothermal system
L - other
Classroom Lighting List
A - T8 fluorescent fixtures
B - T5 fluorescent fixtures
C - high energy gas fixtures
D - low voltage systems
E - other
Active Daylight System List
A - classroom fluorescent dimming including dimming switches, ballasts and sensors
B - occupancy light control sensors
C - remote sensor bi-level lighting with no fixtures dimming
D - manual bi-level lighting with no fixture dimming
E - other
F - none
Passive Daylight Systems List
A - upper classroom clerestory lighting with sloped ceiling plane
B - lower classroom clerestory lighting that does NOT require sloping the ceiling place
C - exterior light shelves
D - solar tubes without dimming
E - solar tubes with internal dimmers
F - other
G - none
On Site Energy Generation List
A - solar water heating
B - solar electric generation (small units for demonstration or for limited areas)
C - solar electric generation (to support the entire building's energy needs)
D - wind generation (small units for demonstration or for limited areas)
E - wind generation (to support the entire building's energy needs)
F - other
G - none
x

## Page 2
Air Purification Systems : |  | YES | NO
Gray Water System : |  | YES | NO
Low Water Use Fixtures : |  | YES | NO
Other:
PLUMBING:
Type of Sewage Disposal: |  | Municipal
HEATING, VENTILATION AND AIR CONDITIONING:
Heating Only:_________ |  | Heating & Mechanical: |  |  |  | HVAC: | X | A/C Only:
Ventilation Only
Fuel Source/Backup (if applicable):
ELECTRICAL:
Source of Electric Power: | [5 empty] | Lighting Intensity (fc.):
Std. Classrooms
Voltage Serving Facility: | [5 empty] | Library/Media Ctr
Science Lab
Number of Convenience Outlets: | [5 empty] | Science Clrm
Classrooms | [5 empty] | Band/Music
Library/Media Center | [5 empty] | Business Ed
Business Ed | [5 empty] | Shops
Family & Consumer Science | [5 empty] | Corridors
Stairways
Camera System: | [5 empty] | Cafeteria
Pre-School Clrm
Art Classroom
Gymnasium
SPECIAL EQUIPMENT:
System | Conduit Only |  |  | Conduit & Wiring |  |  |  | Complete with Equipment
Bell |  | N/A
Clock |  | N/A
Fire Alarm |  | N/A
Intercom |  | N/A
Telephone |  | N/A
Television |  | N/A
Computer |  | N/A
Wireless Network |  | N/A
Interactive White bd |  | N/A
Voice Amplification |  | N/A
FIXED EQUIPMENT:
Teacher Cabinet |  |  |  |  | Custodial Room Shelves
Student Lockers |  |  |  |  | Science Laboratories
Folding Bleachers |  |  |  |  | Family & Consumer Sci
Library Furnishings |  |  |  |  | Other
Dry Food Shelves |  |  |  |  | Other

## Page 3
INTERIOR FINISH SCHEDULE:
AREA | FLOOR | WAINSCOT |  | WALLS | CEILING
General Office
Corridors
Custodial
Kitchen
Cafeteria
Gym
Showers/Locker
Toilets
Library/Media Cntr
Classrooms
Music
Art
Science
FMD
OTHER AREAS
Miscellaneous Project Specific Features:
Kentucky Registered Architect: |  |  |  |  | Date:_______________
Signature
Kentucky Registered Engineer: |  |  |  |  | Date:_______________
Signature
Board Designee or Superintendent: |  |  |  |  | Date:_______________
Signature

## Page 4 Lists
Energy Efficient Design Features Lists
Exterior Wall Type
A - face brick, captured air space, board insulation and waterproof CMU
B - face brick, captured air space, sprayed insulation on CMU
C - face brick, captured air space, sheathing over metal insulated stud system, interior finish system
D - face brick, ICF poured concrete, interior finish system
E - other, describe
Roofing Type List
A - modified bitumen over rigid insulation
B - EPDM over rigid insulation
C - plastic single ply over rigid insulation
D - metal roofing over nailable deck with insulation
E - asphalt shingle roofing over nailable deck with insulation
F - other, describe
HVAC System Type List
A - two pipe unit ventilator system
B - water source heat pump system with air make up
C - ground source heat pump system with air make up
D - hybrid water source heat pump system with boiler/chiller and well field with air make up
E - variable refrigerant flow (VRF) with air make up
F - hybrid geothermal/variable refrigerant flow (VRF) with air make up
G - variable refrigerant volume (VRV) with air make up
H - hybrid geothermal/variable refrigerant volume (VRV) with air make up
I - chilled beam system
J - hybrid chilled beam/geothermal system
L - other
Classroom Lighting List
A - T8 fluorescent fixtures
B - T5 fluorescent fixtures
C - high energy gas fixtures
D - low voltage systems
E - other
Active Daylight System List
A - classroom fluorescent dimming including dimming switches, ballasts and sensors
B - occupancy light control sensors
C - remote sensor bi-level lighting with no fixtures dimming
D - manual bi-level lighting with no fixture dimming
E - other
F - none
Passive Daylight Systems List
A - upper classroom clerestory lighting with sloped ceiling plane
B - lower classroom clerestory lighting that does NOT require sloping the ceiling place
C - exterior light shelves
D - solar tubes without dimming
E - solar tubes with internal dimmers
F - other
G - none
On Site Energy Generation List
A - solar water heating
B - solar electric generation (small units for demonstration or for limited areas)
C - solar electric generation (to support the entire building's energy needs)
D - wind generation (small units for demonstration or for limited areas)
E - wind generation (to support the entire building's energy needs)
F - other
G - none