Board Memo

DATE:  10/13/2022

AGENDA ITEM DETAILS:

School/Department

Boone County High School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #9 for Boone County High Reno, BG 20-183

Date/Term (Beginning and End Dates/Year)

9/28/2022

APPLICABLE BOARD POLICY:

05.1

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

This Change Order includes the following:

Proposal 55R3 – This is for undercutting, removing and stabilizing the existing unsuitable soils in the parking lot area where soft conditions were found prior to paving.

ADD - $14,640.00

Proposal 56 – During construction it was determined that a smaller, exposed junction box was available, and for a minimal cost, could be swapped out with the cheaper one that was specified.  This allows for a smaller, thinner appearance.

ADD - $3,022.00

Proposal 57 – This is for adjustments in the Automatic Transfer Switch location as in the construction, with the final vendor that was specified, some additional clearance was required.

ADD - $4,687.00

Proposal 58 – Building Code official required additional fire alarm pull station devices to enhance the accessibility to a device.

ADD - $3,643.00

Proposal 60R – The building official requested an additional guardrail at one location along the edge of the roof as an additional safety measure when working on the rooftop equipment.

ADD - $2,639.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$28,631.00

Funding Source

Construction

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #9 for Boone County High School Reno, BG 20-183, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations