THIS IS A DECISION PAPER

TO:		Hardin County Board Of Education Members

FROM: 	Nannette Johnston, Superintendent

DATE: 	May 20, 2010

SUBJECT: 	aPPROVE BG1 FOR Partial REROOF PROJECT AT RADCLIFF

ELEMENTARY SCHOOL RENOVATION pHASE 2.

##### ISSUE

The Board needs to approve a BG1 for reroofing a partial portion of Radcliff Elementary School.  This will be Phase 2 of the total renovation.

##### FACTS

Phase 1 of Radcliff Elementary School renovation consisted of classroom space, admin area, restrooms, and hallways with new VCT, ceiling tile, HVAC and windows, along with new technology.

Phase 2 will be a re-roofing project that consists of replacing approximately 14,308 sf of an existing roof assembly installed in 1990.  The existing roof system consists of ballasted EPDM roof system over 1/2" rigid insulation on 2" lightweight concrete roof deck. The new roof system will provide a new ballasted 4-ply built-up roof system over 1/2" wood fiber insulation, 1" Polyiso, and 28# base sheet on the existing concrete deck.

This re-roofing project also consists of replacing approximately 16,400 sf of an existing roof assembly installed in 1976.  The existing roof system consists of ballasted 4-ply built-up roof system over 4" fiber insulation on wood fiber tectum deck or metal roof deck.  The new roof system will provide a new ballasted 4-ply built-up roof system over 1/2" wood fiber insulation, 1" Polyiso, and 28# base sheet on the existing tectum deck or metal roof deck.

All areas below the re-roofing area are being renovated per the Phase 1 scope of work previously reviewed and will be fully sprinklered.

The projected cost for Phase 2 is expected to be around $546,417.  Funding for this Phase will come from remaining funds from past projects and Economic Development Bonds.

##### RECOMMENDATION

I recommend the Hardin County Board of Education approve the attached BG1 for reroofing a partial portion of Radcliff elementary School (Phase 2).

# RECOMMENDED MOTION

I move the Hardin County Board of Education approve the attached BG1 for reroofing a partial portion of Radcliff elementary School (Phase 2).