Board Memo

DATE:  2/9/2023

AGENDA ITEM DETAILS:

School/Department

Gray Middle School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Gray Middle School Cooling Tower, BG 22-248

Date/Term (Beginning and End Dates/Year)

1/19/2023

APPLICABLE BOARD POLICY:

05.1

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

This Change Order includes the following:

Proposal #1 - Unforseen conditions were encountered during the excavation and installation of the new piping.  There were significant amounts of over-poured concrete and asphalt in the way of the trench.

ADD - $3,771.00

Proposal #2 – Existing cooling tower access ladder was not of sufficient length for safe access after tower was raised onto new steel framing.

ADD - $2,997.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$6,768.00

Funding Source

Click or tap here to enter text.

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve Change Order #1 for Gray Middle School Cooling Tower, BG 22-248,

as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations