Board Memo

DATE:  7/13/2023

AGENDA ITEM DETAILS:

School/Department

Boone County Schools

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Boone County Schools HVAC Controls, BG 22-250

Date/Term (Beginning and End Dates/Year)

6/23/2023

APPLICABLE BOARD POLICY:

05.1

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

This Change Order includes the following:

Proposal 1aR2 – Existing dampers controlling building exhaust airflow were found not to be functional when new controls were connected to them.  This cost is to replace existing damper motors (actuators) to make them functional.

ADD - $31,508.00

Proposal 1cR2 – The damper actuators being provided under CP #1aR2 will now have a building pressure sensor to command the dampers open/closed to keep the building under positive pressure.

ADD - $5,485.00

Strategic Connection:  Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.

1.  Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$36,993.00

Funding Source

ESSER II 554GS

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #1 for Boone County Schools HVAC Controls,

BG 22-250, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations