Board Memo

DATE:  6/13/2024

AGENDA ITEM DETAILS:

School/Department

Boone County Schools

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for HVAC 2022, BG 22-250

Date/Term (Beginning and End Dates/Year)

6/13/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 for Boone County Schools HVAC 2022, BG 22-250.  This change order is to replace the existing meter at Ockerman Middle School to allow integration with new controls system for energy monitoring purposes.

ADD - $5,332.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$5,332.00

Funding Source

Capital Outlay

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #3 for Boone County Schools HVAC 2022, BG 22-250,

as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations