Board Memo

DATE:  9/12/2024

AGENDA ITEM DETAILS:

School/Department

Conner High School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Conner High School Fieldhouse, BG 23-470

Date/Term (Beginning and End Dates/Year)

9/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 - This Change Order includes the following:
Proposal 1 – Add (3) light fixtures at the Concession building due to changes in the soffit.  Area wasn’t included in original scope of work.
ADD - $2,246.00
Proposal 2 – This is for lowering the floor slab 1” to allow for a special athletic flooring system – the extra cost is for bulkheads and creating a separate pour.
ADD - $1,261.00
Proposal 3 – Hot water was not provided in original scope of work.  This is for changes that were made to accommodate connections to hot water piping within the chase.
ADD - $4,671.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$8,178.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #1 for Conner High School Fieldhouse, BG 23-470,

as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations