Board Memo

DATE:  9/12/2024

AGENDA ITEM DETAILS:

School/Department

Camp Ernst Middle School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Camp Ernst Middle School Addition, BG 23-269

Date/Term (Beginning and End Dates/Year)

9/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 - This Change Order includes the following:
Proposal 2R – Reroute unforeseen existing fire protection water line to avoid new building
ADD - $34,067.00
Proposal 6 – Install new geothermal valves to isolate the HVAC equipment in each section of the building
ADD - $4,926.00
Proposal 10R – During construction, it was found that an existing sanitary manhole was originally installed too shallow to allow proper pipe slope from the new addition to the sanitary main.  This condition did not match the original building drawings.  As a result, a new lateral was required to be installed to tie in to the sanitary main further downstream of the existing tie in for proper sanitary flow
ADD - $65,090.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$104,083.00

Funding Source

Local FSPK Bond Sale

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #1 for Camp Ernst Middle School Addition, BG 23-269,

as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations