Board Memo

DATE:  9/12/2024

AGENDA ITEM DETAILS:

School/Department

Yealey Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Yealey Elementary School Reno, BG 23-207

Date/Term (Beginning and End Dates/Year)

9/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 - This Change Order includes the following:
Proposal 1R – Reworking the electrical service to the mobile classrooms.

ADD - $21,901.00
Proposal 2RB – Reroute the new internet fiber line from underground to above ceiling.

ADD - $19,642.00
Proposal 3 – Provide new support carrier for toilet in restroom 62.
ADD - $2,534.00
Proposal 4R – Additional support in the chase wall of restroom 60 – it became apparent after demoing existing that additional anchors should be added.
ADD - $669.00
Proposal 6 – Remove existing fan and curb for restroom 60 and 61.
ADD - $1,963.00
Proposal 7 – Delete additional tie offs near the eave of the roof per the District’s request since it was determined that only certain areas would really benefit from tie offs.
DEDUCT - $30,956.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$15,753.00

Funding Source

Local FSPK Bond Sale

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #1 for Yealey Elementary School Reno, BG 23-207,

as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations