Board Memo

DATE:  11/14/2024

AGENDA ITEM DETAILS:

School/Department

Yealey Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #2 for Yealey Elementary School Reno, BG 23-207

Date/Term (Beginning and End Dates/Year)

11/14/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #2 - This Change Order includes the following:
Proposal 5 –This is a credit for not installing and connecting the water and sanitary lines to the mobile classrooms. It is not required when the mobile classroom can be placed withing the prescribed distance from the existing school. It is a significant cost and by making adjustments to the overall location of the mobile classrooms we were able to pass this savings on to the District.

DEDUCT $12,743.00

Proposal 11 – Relocate a HVAC distribution duct which was called to be relocated due to new casework. The new location had some conflicts with some piping that was concealed by prior construction so the ductwork had to be rerouted up through the ceiling with diffusers.

ADD $4,588.00

Proposal 13 – Once the areaway was under construction, it was determined that Door Frame 65-1 needed an adjustment in height.

ADD $1,135.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

DEDUCT $7,020.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #2 for Yealey Elementary School Addition, BG 23-207, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations