Board Memo

DATE:  12/12/2024

AGENDA ITEM DETAILS:

School/Department

BCS Site Improvements 2024

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for BCS Site Improvements 2024, BG 24-244

Date/Term (Beginning and End Dates/Year)

12/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 - This Change Order includes the following:

Proposal 1R – Inadvertently, the ADA tactile warning mats were located in the wrong direction due to an error on the architectural drawings.  There will be a fee reduction to compensate the District for this unnecessary expense.

ADD $1405.00

Proposal 2 – Add an additional temporary rail to the existing guardrail which was determined to be too low for code compliance as a result of the paving adjustments.  This is for a temporary rail to remain in place until the permanent rail can be installed.

ADD $1390.00

Proposal 3 – Install an additional drainage basin at Ryle High School as some of the existing grades were different then what was shown on the original drawings.  This will prevent any ponding conditions for a fairly minimal cost.

ADD $3,255.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$6050.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #1 for BCS Site Improvements 2024, BG 24-244, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations