Board Memo

DATE:  12/12/2024

AGENDA ITEM DETAILS:

School/Department

Longbranch Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for Longbranch Elementary School Mobile Classroom, BG 24-057

Date/Term (Beginning and End Dates/Year)

12/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 - This Change Order includes the following:

Proposal 3 – This change order is for the bond cost associated with adding a second mobile classroom to the project. The second classroom was already added via change order but the contractor didn’t realize there would be an increased bond cost.

ADD $3,507.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$3,507.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #3 for Longbranch Elementary School Mobile Classroom, BG 24-057, as presented.

CONTACT PERSON: (submitter) Kim Best, Assistant Superintendent of Operations