Board Memo

DATE:  12/12/2024

AGENDA ITEM DETAILS:

School/Department

Yealey Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for Yealey Elementary School Renovations, BG 23-207

Date/Term (Beginning and End Dates/Year)

12/12/2024

APPLICABLE BOARD POLICY:

05.1
Goal 4E:  Boone County Schools will provide safe, clean, learner ready facilities.  1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 - This Change Order includes the following:
Proposal 9R – Provide an electrical circuit to HVAC unit – the circuit including the disconnect, wiring, etc. was not included in the bid documents and the District has not paid for an incorrect connection.

ADD $2,644.00

Proposal 12 – Credit for not performing lime stabilization since it was not required by Geotechnical Engineer due to a much drier summer than anticipated.

DEDUCT $31,746.00

Proposal 15 – Remove wallpaper in Classroom 20 and skim walls so the classroom matched the rest of the school.

ADD $3,546.00

Proposal 16 – Retaining wall adjustments were required to accommodate the electrical lines once their depths were known.

ADD $4,885.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

DEDUCT $20,671.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

Click or tap here to enter text.

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve the Change Order #3 for Yealey Elementary School Renovations, BG 23-207, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations