Board Memo

DATE:  3/13/2025

AGENDA ITEM DETAILS:

School/Department

Camp Ernst Middle School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for Camp Ernst Middle School Addition and Renovations, BG 23-269

Date/Term (Beginning and End Dates/Year)

3/13/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 – This Change Order includes the following:

Proposal 14R – Add full card readers in the back end Camp Ernst Middle doors – the original design just had three conventional locks and this is a wise upgrade at the District’s request

DEDUCT $5,812.00

Proposal 16R – At three locations, it was determined that it would be best to add a steel lintel over the new doors which originally called for a concrete precast lintel. There was a credit offered for the precast lintel but the steel lintel had a slight upcharge.

ADD $4,889.00

Proposal 19 – Once construction began, it was determined the existing acid waste box was in a slightly different location than indicated on the original drawings. This is the additional cost for making the necessary field adjustments.

ADD $6,744.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

$5821.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve Change Order #3 for Camp Ernst Middle School Additions and Renovations, BG 23-269, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations