Board Memo

DATE:  4/17/2025

AGENDA ITEM DETAILS:

School/Department

Ignite Institute

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Ignite Institute, Renovations, BG 23-468

Date/Term (Beginning and End Dates/Year)

4/17/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal I - Boone County chose to purchase a different controller type that was utilized elsewhere in the district due to reliability issues. The change order is for deletion of the submitted controllers from the contractor's scope.

DEDUCT $1,688.00

Proposal 2 - Existing CO detectors were found not to be functional and required replacement.

ADD $2,912.00

Proposal 3 - Allowances were included in the project for potential receptacles and data outlets to be added during construction. Much of this was unused and thus can be refunded to the District.

DEDUCT $17,416.00

Proposal 4 - It was determined that adding an additional door to the Mechanical Room off the corridor will allow for greater access. Currently, the new water heater would be rather tight in accessing and service it. ADD $2,659.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

Decrease $13533.00

$2,011,037.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

Click or tap here to enter text.

RECOMMENDATION:

I recommend the Board approve Change Order #1 for Ignite Institute, Renovations, BG 23-468, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations