Board Memo

DATE:  6/12/2025

AGENDA ITEM DETAILS:

School/Department

Conner High School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for Conner High School, Fieldhouse, BG 23-470

Date/Term (Beginning and End Dates/Year)

6/12/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 – This Change Order includes the following:

Proposal 8 – Eliminate the mirrors from the Weight Room at the request of the District.

DEDUCT $2,888.00

Proposal 9 – Change from a drywall ceiling to a grid system with drywall ceiling panels to allow for greater access above the ceiling in the future.

DEDUCT $680.00

Proposal 10R2 – This change order is for ductwork which was omitted from drawings and is needed to connect to supply air devices on exterior Rooms C14 and C27.

ADD $2,358.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

Decrease $1,210.00

$4,176,284.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #3 for Conner High School, Conner Fieldhouse, BG 23-470, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations