Board Memo

DATE:  7/10/2025

AGENDA ITEM DETAILS:

School/Department

Boone County Schools

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for BCS, HVAC Improvements 2024, BG 24-145

Date/Term (Beginning and End Dates/Year)

7/10/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal 1 (A) – Design called for a single hot water coil to save cost and provide a simpler design with less components to maintain.  However, the installing contractor was unable to achieve the design intent due to the space constraints encountered.  Additional coils, fittings and connections are needed to provide proper heating/cooling of the occupied spaces.

ADD $15,550.00

Proposal 5 (E) – Existing pipe-concealing metal shrouds were to be replaced and were found to have existing power receptacles installed within them at time of demolition.  Owner elected to keep receptacles in the same location as they were being utilized.

ADD $3,977.00

Proposal 6 (F) – Fan coil unit was previously installed in a separate renovation and was slightly newer than other units within the building. It was not shown for replacement on the bidding documents.  Owner requested replacement of the unit as it was still outside of expected lifespan.

ADD $4,415.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD  $23,942.00

New Contract Sum $2,913,942.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #1 for BCS HVAC Improvements 2024, BG 24-145, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations