Board Memo

DATE:  7/10/2025

AGENDA ITEM DETAILS:

School/Department

Yealey Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #6 for Yealey Elementary School, Renovations, BG 23-207

Date/Term (Beginning and End Dates/Year)

7/10/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #6  – This Change Order includes the following:

Proposal 25R – Basis of Design video surveillance equipment was not compliant with the District standards.  Cost is for upgrade to equipment as requested.

ADD $12,519.00

Proposal 32 – New sinks were found to not fit correctly in existing countertops.  Sinks were restocked at no additional cost and replaced with larger sinks for upcharge. This avoids additional cost for new countertops.

ADD $4,396.00

Proposal 33 – Furnish and install 6” fan coil unit extensions and shroud extensions.  New piping shrouds were not included in the project to save money for the District by retaining as much shroud material as possible wherever feasible.

ADD $6,791.00

Proposal 36R – Add shrouds to Classrooms 32 thru 35 to cover the control valves.  The shrouds will be removable. New piping shrouds were not included in the project to save money for the District by retaining as much shroud material as possible wherever feasible.

ADD $4,689.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD  $28,395.00

New Contract Sum $13,933,410.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #6 for Yealey Elementary School, Renovations, BG 23-207, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations