Board Memo

DATE:  9/11/2025

AGENDA ITEM DETAILS:

School/Department

BCS

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for BCS Paving Improvements 2025, BG 25-231

Date/Term (Beginning and End Dates/Year)

9/11/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal 2 – Repairs to an existing small sinkhole, which developed in the driveway along Stephens Elementary, after the project was bid.  This was a repair to the curb, the blacktop, and the adjacent slope with re-seeding.

ADD $17,496.00

Proposal 3 – This change order, which is rather large in nature, is for the existing lot at Burlington Elementary – once the milling and new asphalt operations began, it was determined to be excessively soft underneath and was deforming under even moderate loads. We witnessed this firsthand and found the dirt to be the consistency of peanut butter, for lack of a better description. This cost is for digging out the soft material, installing a filter fabric and stone underneath the new surface to bring it back and permanently fix the issue.

ADD $133,441.00

Proposal 4 – This is for removal of an existing fence at Kelly Elementary, which allowed the District to install a new fence under separate contract – this cost is only for the removal of the existing fence as the District was able to purchase the new fence direct to save money.

ADD $2,444.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD $153,381.00

New Contract Sum $521,786.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #1 for BCS Paving Improvements 2025, BG 25-231, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations