Board Memo

DATE:  9/11/2025

AGENDA ITEM DETAILS:

School/Department

BCS

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #2 for BCS HVAC Improvements 2024, BG 24-145

Date/Term (Beginning and End Dates/Year)

9/11/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #2 – This Change Order includes the following:

Proposal 7R (G) – This change order is for making repairs to the flooring where the new units being installed are significantly smaller.  This was an unforeseen condition.

ADD $37,992.00

Proposal 9 (I) – The change order is for adding additional access points to the mezzanine to allow for greater serviceability of the equipment.

ADD $26,883.00

Proposal 10 (J) – The new units were smaller than existing and required floor patching at existing flooring penetrations.

ADD $6,621.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD $71,496.00

New Contract Sum $2,985,438.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #2 for BCS HVAC Improvements 2024, BG 24-145, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations