Board Memo

DATE:  9/11/2025

AGENDA ITEM DETAILS:

School/Department

Conner High School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #4 for Conner High School, Fieldhouse, BG 23-470

Date/Term (Beginning and End Dates/Year)

9/11/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #4  – This Change Order includes the following:

Proposal 11 – Credit for installing floor stops ahead of overhead stops at three interior doors.  The floor stops were determined to be sufficient for the area and a cost savings was received.

DEDUCT $997.00

Proposal 12 – A new gate was added at the sidewalk connection to allow for safer pedestrian access – the new fencing fabric matches a similar look on campus while being more sturdy.

ADD $20,769.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD $19,772.00

New Contract Sum $4,196,056.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #4 for Conner High School, Fieldhouse, BG 23-470, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations