Board Memo

DATE:  10/9/2025

AGENDA ITEM DETAILS:

School/Department

Kelly Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #3 for Kelly Elementary School, Roof, BG 25-230

Date/Term (Beginning and End Dates/Year)

10/9/2025

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #3 – This Change Order includes the following:

Proposal #2 – It was determined that, at multiple locations, some of the existing wood trusses under the roof needed repairs according to a visit from our structural engineer.

ADD $1,438.00

Proposal #3 – Some additional rotted sheathing was encountered beyond the allowance that was included in the Bidding Documents and Unit Prices were utilized to add this additional scope.

ADD $960.00

Proposal #4 – Some additional wood blocking was encountered beyond the allowance that was included in the Bidding Documents and Unit Prices were utilized to add this additional scope.

ADD $650.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

INCREASE  $3,048.00

New Contract Sum $647,030.00

Funding Source

Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #3 for Kelly Elementary School, Roof, BG 25-230, as presented.

CONTACT PERSON: (submitter) Kim Best, Assistant Superintendent of Operations