## SUMMARY
| 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023
Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | 24-25 | 23-24 | 22-23 |  |  |  | Account | Meter | Bill Multiplier
Sept | 163865.44 | 167231 | 144500 | -13.4% | Sept | 17563.98 | 17728.21 | 17001.14 | -3.311% | 0.10719 | 0.10601 | 0.11765 | 8.899% |  | Central Office | 007463-000 | 69909242 | 40
Oct | 132289.14 | 140657 | 124538 | -6.224% | Oct | 14562.6 | 15450.99 | 15840.15 | 8.065% | 0.11008 | 0.10985 | 0.12719 | 13.45% |  | Football | 007465-000 | 93317458 | 160
Nov | 104218.7 | 121790 | 115235 | 9.56% | Nov | 12255.48 | 13573.64 | 13926.65 | 12% | 0.11759 | 0.11145 | 0.12085 | 2.698% |  | Main | 007469-000 | 310048188 | 400 | 90580425
Dec | 115002.46 | 131386 | 128139 | 10.25% | Dec | 13531.73 | 14021.49 | 14154.96 | 4.403% | 0.11766 | 0.10672 | 0.11047 | -6.517% |  |  |  | 90580418 | 100 | 57426110
Jan | 120499.55 | 163407 | 151531 | 20.48% | Jan | 13003.34 | 15585.64 | 16237.69 | 19.92% | 0.10791 | 0.095379 | 0.10716 | -0.704% |  | Annex | 007470-000 | 59138606 | 1
Feb | 144696.46 | 139858 | 126533 | -14.35% | Feb | 15039.29 | 14169.55 | 13440.35 | -11.9% | 0.10394 | 0.10131 | 0.10622 | 2.15% |  |  |  | 90580426 | 40
Mar | 118646.49 | 128547 | 132724 | 10.61% | Mar | 28480.63 | 13558.73 | 14340.02 | -98.61% | 0.24005 | 0.10548 | 0.10804 | -122.2% |  | Maintenance | 007471-000 | 90111588 | 1
Apr | 94583.7 | 134663 | 137376 | 31.15% | Apr | 10888.58 | 13998.11 | 15046.88 | 27.64% | 0.11512 | 0.10395 | 0.10953 | -5.104% |  | Transpt | 007472-000 | 90111954 | 1
May | 89591.04 | 111951 | 160280 | 44.1% | May | 10640.56 | 12315.15 | 16980.83 | 37.34% | 0.11877 | 0.11 | 0.10594 | -12.1%
Jun | 100642.87 | 100914 | 143936 | 30.08% | Jun | 12737.39 | 10421.04 | 14801.22 | 13.94% | 0.12656 | 0.10327 | 0.10283 | -23.07%
Jul | 113986.3 | 149755 | 183359 | 37.83% | Jul | 13093.12 | 14583.96 | 17769.98 | 26.32% | 0.11487 | 0.097385 | 0.096914 | -18.52%
Aug | 139234.62 | 155543 | 205526 | 32.25% | Aug | 14727.19 | 16390.64 | 20910.32 | 29.57% | 0.10577 | 0.10538 | 0.10174 | -3.963%
Total | 1437256.77 | 1645702 | 1753677 | 18.04% | Total | 176523.89 | 171797.15 | 190450.19 | 7.312% | 0.12282 | 0.10439 | 0.1086 | -13.09%
|  |  |  | 316420.23 |  |  |  |  | 13926.3
Annual Percentage Reduction |  |  |  |  | Energy Usage Index (BTU/ft^2) | [9 empty] | Btu's
Buildings |  | kWh | $ | $/kWh | Square Footage | 2024-2025 | 2023-2024 | 2022-2023 | Difference |  |  |  |  | 2024-2025 | 2023-2024 | 2022-2023
Berea Community School |  | 13.65% | 6.826% | -14.05% | 152682 | 42390.1642 | 46985.3569 | 45661.9985 | 7.165% |  |  |  |  | 6472215050 | 7173818268 | 6971765252
Central Office |  | 8.47% | 8.828% | 0.3904% | 6850 | 24153.4771 | 24173.5067 | 26388.7181 | 8.47% |  |  |  |  | 165451318.4 | 165588521 | 180762719
Annex/Frysc Building |  | 21.62% | 13.33% | -10.57% | 3650 | 13799.3294 | 16216.8929 | 17605.4696 | 21.62% |  |  |  |  | 50367552.28 | 59191659 | 64259964
Maintenance Custodial Building |  | -1.941% | -2.808% | -0.8503% | 1000 | 78578.7618 | 50126.731 | 77082.605 | -1.941% |  |  |  |  | 78578761.81 | 50126731 | 77082605
Transportation Building |  | 17.51% | 25.59% | 9.793% | 2600 | 14678.3154 | 16199.9358 | 17793.5442 | 17.51% |  |  |  |  | 38163619.92 | 42119833 | 46263215
Football Field/Press Box |  | 43.72% | 18.84% | -44.19% | 200 | 175209.768 | 224882.57 | 311299.73 | 43.72% |  |  |  |  | 35041953.6 | 44976514 | 62259946
OVERALL |  | 18.04% | 7.312% | -13.09% | 166982 | 40961.4105 | 45129.5441 | 44330.4889 | 7.6%
[5 empty] | Overall Cost | 2024-2025 | 2023-2024 | 2022-2023
[6 empty] | 197760.12 | 191972.51 | 211156.16
[5 empty] | Reduction | 13396.04 | 19183.65

## Main
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 152171 | 155505 | 133216 | 2.144% | Sept | 15915.48 | 16064.93 | 15376.43 | -3.506% | 0.10459 | 0.10331 | 0.11542 | 9.387%
2024 | Oct | 123998 | 130662 | 114418 | 5.1% | Oct | 13212.13 | 13916.46 | 14233.08 | 7.173% | 0.10655 | 0.10651 | 0.1244 | 14.34%
2024 | Nov | 95747 | 114871 | 105581 | 16.65% | Nov | 10893.43 | 12319.69 | 12676.04 | 14.06% | 0.11377 | 0.10725 | 0.12006 | 5.236%
2024 | Dec | 104700 | 123932 | 117644 | 15.52% | Dec | 12027.57 | 12997.44 | 12927.65 | 6.962% | 0.11488 | 0.10488 | 0.10989 | -4.54%
2025 | Jan | 109468 | 155243 | 140074 | 29.49% | Jan | 11799.61 | 14611.71 | 14907.33 | 20.85% | 0.10779 | 0.094122 | 0.10642 | -1.283%
2025 | Feb | 135303 | 133030 | 116155 | -1.709% | Feb | 13614.91 | 13295.83 | 12224.14 | -11.38% | 0.10063 | 0.099946 | 0.10524 | 4.385%
2025 | Mar | 111855 | 122301 | 121601 | 8.541% | Mar | 27603.23 | 12466 | 12840.9 | -115% | 0.24678 | 0.10193 | 0.1056 | -133.7%
2025 | Apr | 88636 | 128036 | 129002 | 30.77% | Apr | 10091.61 | 13073.98 | 13914.59 | 27.47% | 0.11385 | 0.10211 | 0.10786 | -5.554%
2025 | May | 83454 | 104134 | 151534 | 19.86% | May | 9834.85 | 11368.74 | 15656.6 | 37.18% | 0.11785 | 0.10917 | 0.10332 | -14.06%
2025 | Jun | 93751 | 90192 | 135047 | -3.946% | Jun | 11858.16 | 8952.81 | 13419.61 | 11.64% | 0.12649 | 0.099264 | 0.09937 | -27.29%
2025 | Jul | 103596 | 137417 | 171351 | 24.61% | Jul | 11609.43 | 13139.87 | 16334.53 | 28.93% | 0.11206 | 0.09562 | 0.095328 | -17.56%
2025 | Aug | 126871 | 144313 | 191881 | 12.09% | Aug | 13342.89 | 14896.35 | 19146 | 30.31% | 0.10517 | 0.10322 | 0.099781 | -5.4%
| Total | 1329550 | 1539636 | 1627504 | 13.65% | Total | 161803.3 | 157103.81 | 173656.9 | 6.826% | 0.1217 | 0.10204 | 0.1067 | -14.05%

## Office
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 4654 | 4195 | 4476 | -3.977% | Sept | 486.71 | 448.42 | 459.86 | -5.839% | 0.10458 | 0.10689 | 0.10274 | -1.791%
2024 | Oct | 3972 | 3824 | 4295 | 7.52% | Oct | 421.69 | 422.01 | 479.11 | 11.98% | 0.10617 | 0.11036 | 0.11155 | 4.827%
2024 | Nov | 3534 | 3539 | 4409 | 19.85% | Nov | 398.58 | 409.25 | 482.54 | 17.4% | 0.11278 | 0.11564 | 0.10944 | -3.052%
2024 | Dec | 3774 | 3826 | 4433 | 14.87% | Dec | 417.74 | 442.68 | 464.41 | 10.05% | 0.11069 | 0.1157 | 0.10476 | -5.658%
2025 | Jan | 4012 | 4190 | 5051 | 20.57% | Jan | 420.72 | 458.68 | 528.27 | 20.36% | 0.10487 | 0.10947 | 0.10459 | -0.266%
2025 | Feb | 4297.6 | 3819 | 4015 | -7.039% | Feb | 469.67 | 435.2 | 430.37 | -9.132% | 0.10929 | 0.11396 | 0.10719 | -1.955%
2025 | Mar | 3775.2 | 3571 | 3849 | 1.917% | Mar | 421.78 | 421.91 | 414.27 | -1.813% | 0.11172 | 0.11815 | 0.10763 | -3.803%
2025 | Apr | 3572 | 3537 | 3821 | 6.517% | Apr | 386.75 | 388.7 | 432.18 | 10.51% | 0.10827 | 0.1099 | 0.11311 | 4.274%
2025 | May | 3489.6 | 3808 | 4193 | 16.78% | May | 358.44 | 408.1 | 457.92 | 21.72% | 0.10272 | 0.10717 | 0.10921 | 5.946%
2025 | Jun | 3810.4 | 4563 | 4063 | 6.217% | Jun | 392.41 | 475.23 | 429.44 | 8.623% | 0.10298 | 0.10415 | 0.1057 | 2.565%
2025 | Jul | 4452 | 5114 | 5191 | 14.24% | Jul | 449.39 | 521.79 | 534.29 | 15.89% | 0.10094 | 0.10203 | 0.10293 | 1.929%
2025 | Aug | 5134 | 4531 | 5167 | 0.6387% | Aug | 522.63 | 471.55 | 532.16 | 1.791% | 0.1018 | 0.10407 | 0.10299 | 1.16%
| Total | 48476.8 | 48517 | 52963 | 8.47% | Total | 5146.51 | 5303.52 | 5644.82 | 8.828% | 0.10616 | 0.10931 | 0.10658 | 0.3904%

## Annex
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 2120.52 | 2463 | 1681 | -26.15% | Sept | 313.24 | 341.56 | 263.24 | -18.99% | 0.14772 | 0.13868 | 0.1566 | 5.67%
2024 | Oct | 1402.83 | 1506 | 1106 | -26.84% | Oct | 253.14 | 254.14 | 214.83 | -17.83% | 0.18045 | 0.16875 | 0.19424 | 7.1%
2024 | Nov | 892.03 | 1032 | 1073 | 16.87% | Nov | 190.17 | 199.04 | 195.03 | 2.492% | 0.21319 | 0.19287 | 0.18176 | -17.29%
2024 | Dec | 829.47 | 956 | 1197 | 30.7% | Dec | 182.03 | 178.81 | 211.81 | 14.06% | 0.21945 | 0.18704 | 0.17695 | -24.02%
2025 | Jan | 793.78 | 1009 | 1243 | 36.14% | Jan | 168.39 | 174.73 | 218.77 | 23.03% | 0.21214 | 0.17317 | 0.176 | -20.53%
2025 | Feb | 1049.68 | 983 | 1071 | 1.991% | Feb | 191.88 | 174.22 | 197.34 | 2.767% | 0.1828 | 0.17723 | 0.18426 | 0.7919%
2025 | Mar | 828.7 | 908 | 1110 | 25.34% | Mar | 176.64 | 175.69 | 198.55 | 11.04% | 0.21315 | 0.19349 | 0.17887 | -19.16%
2025 | Apr | 825.03 | 1233 | 1253 | 34.16% | Apr | 184.36 | 212.92 | 222.83 | 17.26% | 0.22346 | 0.17268 | 0.17784 | -25.65%
2025 | May | 892.37 | 1244 | 1769 | 49.56% | May | 183.64 | 214.65 | 281.11 | 34.67% | 0.20579 | 0.17255 | 0.15891 | -29.5%
2025 | Jun | 879.41 | 1657 | 1659 | 46.99% | Jun | 196.11 | 261.79 | 261.36 | 24.97% | 0.223 | 0.15799 | 0.15754 | -41.55%
2025 | Jul | 1737.85 | 2280 | 2464 | 29.47% | Jul | 263.64 | 322.84 | 342.02 | 22.92% | 0.1517 | 0.1416 | 0.13881 | -9.292%
2025 | Aug | 2505.89 | 2072 | 3202 | 21.74% | Aug | 306 | 302.42 | 403.79 | 24.22% | 0.12211 | 0.14596 | 0.12611 | 3.167%
| Total | 14757.56 | 17343 | 18828 | 21.62% | Total | 2609.24 | 2812.81 | 3010.68 | 13.33% | 0.17681 | 0.16219 | 0.1599 | -10.57%

## Maint
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 2363.84 | 1911 | 1480 | -59.72% | Sept | 224.56 | 186.28 | 145.81 | -54.01% | 0.094998 | 0.097478 | 0.09852 | 3.575%
2024 | Oct | 1478.5 | 941 | 951 | -55.47% | Oct | 149.84 | 105.43 | 104.65 | -43.18% | 0.10135 | 0.11204 | 0.11004 | 7.903%
2024 | Nov | 2009.73 | 465 | 800 | -151.2% | Nov | 194.1 | 64.56 | 90.74 | -113.9% | 0.09658 | 0.13884 | 0.11342 | 14.85%
2024 | Dec | 3928.45 | 465 | 868 | -352.6% | Dec | 356.6 | 64.49 | 97.68 | -265.1% | 0.090774 | 0.13869 | 0.11253 | 19.34%
2025 | Jan | 4599.76 | 516 | 1124 | -309.2% | Jan | 409.32 | 67.9 | 120.97 | -238.4% | 0.088987 | 0.13159 | 0.10762 | 17.32%
2025 | Feb | 1771.59 | 463 | 2622 | 32.43% | Feb | 170.15 | 63.99 | 245.12 | 30.59% | 0.096044 | 0.13821 | 0.093486 | -2.736%
2025 | Mar | 499.62 | 462 | 4070 | 87.72% | Mar | 66.54 | 65.07 | 364.16 | 81.73% | 0.13318 | 0.14084 | 0.089474 | -48.85%
2025 | Apr | 463.33 | 669 | 1969 | 76.47% | Apr | 63.58 | 80.68 | 191.67 | 66.83% | 0.13722 | 0.1206 | 0.097344 | -40.97%
2025 | May | 510.81 | 1287 | 1615 | 68.37% | May | 66.43 | 132.17 | 162.38 | 59.09% | 0.13005 | 0.1027 | 0.10054 | -29.34%
2025 | Jun | 792.76 | 2295 | 1764 | 55.06% | Jun | 90.47 | 218.6 | 172.57 | 47.57% | 0.11412 | 0.095251 | 0.097829 | -16.65%
2025 | Jul | 2085 | 2846 | 2665 | 21.76% | Jul | 196.67 | 265.21 | 249.04 | 21.03% | 0.094326 | 0.093187 | 0.093448 | -0.9393%
2025 | Aug | 2519.98 | 2367 | 2657 | 5.157% | Aug | 267.24 | 223.5 | 249.11 | -7.278% | 0.10605 | 0.094423 | 0.093756 | -13.11%
| Total | 23023.37 | 14687 | 22585 | -1.941% | Total | 2255.5 | 1537.88 | 2193.9 | -2.808% | 0.097966 | 0.10471 | 0.09714 | -0.8503%
[5 empty] | -438.37 |  |  |  |  | -61.6

## Transpt
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 1380.08 | 1015 | 870 | -58.63% | Sept | 142.67 | 109.99 | 126.63 | -12.67% | 0.10338 | 0.10836 | 0.14555 | 28.98%
2024 | Oct | 901.81 | 651 | 516 | -74.77% | Oct | 102.26 | 80.63 | 103.5 | 1.198% | 0.11339 | 0.12386 | 0.20058 | 43.47%
2024 | Nov | 539.94 | 523 | 1095 | 50.69% | Nov | 71.56 | 69.23 | 151.59 | 52.79% | 0.13253 | 0.13237 | 0.13844 | 4.266%
2024 | Dec | 594.54 | 1401 | 1917 | 68.99% | Dec | 76.19 | 143.62 | 223.82 | 65.96% | 0.12815 | 0.10251 | 0.11676 | -9.759%
2025 | Jan | 664.41 | 1649 | 1908 | 65.18% | Jan | 81.54 | 162.1 | 224.99 | 63.76% | 0.12273 | 0.098302 | 0.11792 | -4.076%
2025 | Feb | 1256.99 | 775 | 865 | -45.32% | Feb | 129.12 | 89.94 | 135.38 | 4.624% | 0.10272 | 0.11605 | 0.15651 | 34.37%
2025 | Mar | 1046.37 | 492 | 839 | -24.72% | Mar | 113.32 | 67.24 | 131.44 | 13.79% | 0.1083 | 0.13667 | 0.15666 | 30.87%
2025 | Apr | 445.74 | 639 | 785 | 43.22% | Apr | 63.18 | 77.98 | 102.35 | 38.27% | 0.14174 | 0.12203 | 0.13038 | -8.713%
2025 | May | 602.66 | 901 | 965 | 37.55% | May | 75.03 | 99.42 | 107.15 | 29.98% | 0.1245 | 0.11034 | 0.11104 | -12.12%
2025 | Jun | 767.7 | 1432 | 1022 | 24.88% | Jun | 89.51 | 145.78 | 109.61 | 18.34% | 0.1166 | 0.1018 | 0.10725 | -8.713%
2025 | Jul | 1419.45 | 1526 | 1432 | 0.8764% | Jul | 142.92 | 153.94 | 144.88 | 1.353% | 0.10069 | 0.10088 | 0.10117 | 0.4807%
2025 | Aug | 1562.15 | 1337 | 1341 | -16.49% | Aug | 177.07 | 136.47 | 137.76 | -28.54% | 0.11335 | 0.10207 | 0.10273 | -10.34%
| Total | 11181.84 | 12341 | 13555 | 17.51% | Total | 1264.37 | 1336.34 | 1699.1 | 25.59% | 0.11307 | 0.10828 | 0.12535 | 9.793%

## Fball
|  | 2024-2025 | 2023-2024 | 2022-2023 |  |  | 2024-2025 | 2023-2024 | 2022-2023 |  | 24-25 | 23-24 | 22-23
| Month | kWh | kWh | kWh | Difference | Month | Cost | Cost | Cost | Difference | $/kWh | $/kWh | $/kWh | Difference
2024 | Sept | 1176 | 2142 | 2777 | 57.65% | Sept | 481.32 | 577.03 | 629.17 | 23.5% | 0.40929 | 0.26939 | 0.22656 | -80.65%
2024 | Oct | 536 | 3073 | 3252 | 83.52% | Oct | 423.54 | 672.32 | 704.98 | 39.92% | 0.79019 | 0.21878 | 0.21678 | -264.5%
2024 | Nov | 1496 | 1360 | 2277 | 34.3% | Nov | 507.64 | 511.87 | 330.71 | -53.5% | 0.33933 | 0.37638 | 0.14524 | -133.6%
2024 | Dec | 1176 | 806 | 2080 | 43.46% | Dec | 471.6 | 194.45 | 229.59 | -105.4% | 0.40102 | 0.24125 | 0.11038 | -263.3%
2025 | Jan | 961.6 | 800 | 2131 | 54.88% | Jan | 123.76 | 110.52 | 237.36 | 47.86% | 0.1287 | 0.13815 | 0.11138 | -15.55%
2025 | Feb | 1017.6 | 788 | 1805 | 43.62% | Feb | 463.56 | 110.37 | 208 | -122.9% | 0.45554 | 0.14006 | 0.11524 | -295.3%
2025 | Mar | 641.6 | 813 | 1255 | 48.88% | Mar | 99.12 | 362.82 | 390.7 | 74.63% | 0.15449 | 0.44627 | 0.31131 | 50.38%
2025 | Apr | 641.6 | 549 | 546 | -17.51% | Apr | 99.1 | 163.85 | 183.26 | 45.92% | 0.15446 | 0.29845 | 0.33564 | 53.98%
2025 | May | 641.6 | 577 | 204 | -214.5% | May | 122.17 | 92.07 | 315.67 | 61.3% | 0.19041 | 0.15957 | 1.5474 | 87.69%
2025 | Jun | 641.6 | 775 | 381 | -68.4% | Jun | 110.73 | 366.83 | 408.63 | 72.9% | 0.17258 | 0.47333 | 1.0725 | 83.91%
2025 | Jul | 696 | 572 | 256 | -171.9% | Jul | 431.07 | 180.31 | 165.22 | -160.9% | 0.61935 | 0.31523 | 0.64539 | 4.034%
2025 | Aug | 641.6 | 923 | 1278 | 49.8% | Aug | 111.36 | 360.35 | 441.5 | 74.78% | 0.17357 | 0.39041 | 0.34546 | 49.76%
| Total | 10267.2 | 13178 | 18242 | 43.72% | Total | 3444.97 | 3702.79 | 4244.79 | 18.84% | 0.33553 | 0.28098 | 0.23269 | -44.19%

## Delta Gas
Percentage Reductions
Month | Mcf | therms | $ | $/therm | therms | $ | $/therm
2025-09-01 | 24.4 | 255.956 | 496.53 | 1.9399 | 15.86% | 7.073% | -10.45%
2025-08-01 | 17.9 | 187.771 | 485.42 | 2.5852 | 46.88% | 17.64% | -55.07%
2025-07-01 | 16.9 | 177.281 | 475.66 | 2.6831 | 5.587% | -8.331% | -14.74%
2025-06-01 | 15.1 | 158.399 | 426.25 | 2.691 | 51.91% | 31.57% | -42.3%
2025-05-01 | 25 | 262.25 | 569.82 | 2.1728 | 37.5% | 22.55% | -23.93%
2025-04-01 | 89.7 | 940.953 | 1259.92 | 1.339 | -52.55% | -28.19% | 15.97%
2025-03-01 | 133 | 1395.17 | 1658.08 | 1.1884 | 22.58% | 34.31% | 15.15%
2025-02-01 | 370.2 | 3883.398 | 3859.31 | 0.9938 | -102.8% | -44.62% | 28.7%
2025-01-01 | 648.5 | 6802.765 | 6219.51 | 0.91426 | -169.8% | -80.03% | 33.26%
2024-12-01 | 327.7 | 3437.573 | 3450.57 | 1.0038 | -17.37% | 11.62% | 24.7%
2024-11-01 | 139.5 | 1463.355 | 1711.28 | 1.1694 | 35.03% | 45.76% | 16.52%
2024-10-01 | 36.2 | 379.738 | 623.88 | 1.6429 | 29.71% | 43.03% | 18.95%
|  | 19344.609 | 21236.23 | 1.0978 | -36.51% | -2.561% | 24.87%
[5 empty] | 5173.668 | -530.26
Month | Mcf | therms | $ | $/therm
2024-09-01 | 24.4 | 255.956 | 496.53 | 1.9399
2024-08-01 | 18.5 | 194.065 | 426.46 | 2.1975
2024-07-01 | 4.4 | 46.156 | 254.83 | 5.5211
2024-06-01 | 1.4 | 14.686 | 221.28 | 15.0674
2024-05-01 | 23.7 | 248.613 | 453.17 | 1.8228
2024-04-01 | 108.7 | 1140.263 | 1296.57 | 1.1371
2024-03-01 | 162.3 | 1702.527 | 1802.34 | 1.0586
2024-02-01 | 284.4 | 2983.356 | 2810.77 | 0.94215
2024-01-01 | 620.4 | 6507.996 | 5810.07 | 0.89276
2023-12-01 | 312.4 | 3277.076 | 3330.44 | 1.0163
2023-11-01 | 229 | 2402.21 | 2617.96 | 1.0898
2023-10-01 | 39.8 | 417.502 | 654.94 | 1.5687
|  | 19190.406 | 20175.36 | 1.0513
2023-09-01 | 29 | 304.21 | 534.32 | 1.7564
2023-08-01 | 33.7 | 353.513 | 589.36 | 1.6672
2023-07-01 | 17.9 | 187.771 | 439.08 | 2.3384
2023-06-01 | 31.4 | 329.386 | 622.89 | 1.8911
2023-05-01 | 40 | 419.6 | 735.68 | 1.7533
2023-04-01 | 58.8 | 616.812 | 982.89 | 1.5935
2023-03-01 | 171.8 | 1802.182 | 2524.18 | 1.4006
2023-02-01 | 182.5 | 1914.425 | 2668.52 | 1.3939
2023-01-01 | 240.4 | 2521.796 | 3454.8 | 1.37
2022-12-01 | 279.2 | 2928.808 | 3904.09 | 1.333
2022-11-01 | 214.7 | 2252.203 | 3155.03 | 1.4009
2022-10-01 | 51.5 | 540.235 | 1095.13 | 2.0271
|  | 14170.941 | 20705.97 | 1.4612
Note on K2: Elizabeth Castillo: Need to compare it between base not previous year

## Heating Requirement
Berea Heating Degree Days Comparison
Pre-project |  | Post-project
Sept. 2022 - Aug. 2023 |  | Sept. 2024 - Aug. 2025
Month | HDD | Month | HDD | Comparison
2022-09-01 | 74.8 | 2024-09-01 | 29.8 | 60.16%
2022-10-01 | 304.3 | 2024-10-01 | 226.9 | 25.44%
2022-11-01 | 530.3 | 2024-11-01 | 398.9 | 24.78%
2022-12-01 | 798.7 | 2024-12-01 | 735.4 | 7.925%
2023-01-01 | 683.1 | 2025-01-01 | 1109.9 | -62.48%
2023-02-01 | 515.7 | 2025-02-01 | 733.1 | -42.16%
2023-03-01 | 554.6 | 2025-03-01 | 436 | 21.38%
2023-04-01 | 280.1 | 2025-04-01 | 261.5 | 6.64%
2023-05-01 | 112.1 | 2025-05-01 | 134 | -19.54%
2023-06-01 | 27.2 | 2025-06-01 | 17.2 | 36.76%
2023-07-01 | 1.4 | 2025-07-01 | 0.1 | 92.86%
2023-08-01 | 7.8 | 2025-08-01 | 31.5 | -303.8%
TOTAL | 3890.1 | TOTAL | 4114.3 | -5.763%
"Heating degree days", or "HDD", are a measure of how much (in degrees), and for how long (in days), outside air temperature was lower than a specific "base temperature" (or "balance point"). They are used for calculations relating to the energy consumption required to heat buildings.
https://www.degreedays.net/