Board Memo

DATE:  3/12/2026

AGENDA ITEM DETAILS:

School/Department

Conner Middle School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1 for Conner Middle School Sanitary/Storm(Emergency), BG 26-215

Date/Term (Beginning and End Dates/Year)

3/12/2026

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal 1 – Credit is being offered back to the District for not providing performance and payment bonds since construction cost fell below the threshold requiring bonds to be provided.

DEDUCT $1,600.00

Proposal 2 – Credit for a shorter route of underground plumbing and associated flooring than what was included in the bid documents. The Contractor located and utilized an existing plumbing line that was closer than the one documented on as-built drawings.
DEDUCT $4,378.00

Proposal 3 – Credit for lobby flooring, waterproofing and base since the revised piping route that was utilized by the contractor avoided floor demolition in the entrance lobby.

DEDUCT $19,781.00

Proposal 4 – And allowance of 40 1f of plumbing pipe with associated flooring was included in the bidding documents; however, due to the existing pipe that was located by the Contractor during construction, the additional underground piping was not required and a credit is being provided.

DEDUCT $15,920.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

DECREASE  $41,679.00

New Contract Sum $43,321.00

Funding Source

Cash-Capital Outlay

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #1 for Conner Middle School, Sanitary/Storm (Emergency), BG 26-215, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations