Board Memo

DATE:  8/13/2026

AGENDA ITEM DETAILS:

School/Department

Ryle High School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1, Ryle High School HVAC Upgrades, BG 25-182

Date/Term (Beginning and End Dates/Year)

8/13/2026

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal 1: Per RFI #3 response, this proposal is for relocating existing floor drain in AHU mechanical room due to conflicts with new AHU location.

ADD $4,309.00

Proposal 2: Delete demo of the existing AHU pad. The existing pad will be extended as necessary for new AHU placement.

DEDUCT $2,000.00

Proposal 8: Per RFI 11 response and additional conversations with Boone County Schools, this proposal is to demo existing butterfly valve gear operator and install owner-provided Belimo actuator and retrofit kit.

ADD $4,444.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

ADD  $6,753.00

New Contract Sum $2,414,753.00

Funding Source

Cash - Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #1 for Ryle High School HVAC Upgrades, BG 25-182, as presented.

CONTACT PERSON: (submitter)  Kim Best, Assistant Superintendent of Operations