Board Memo

DATE:  8/13/2026

AGENDA ITEM DETAILS:

School/Department

Goodridge Elementary School

Product Vendor or Grant Issuer

Change Order

Product or Grant Name

Change Order #1, Goodridge Elementary School Plumbing and HVAC Upgrades, BG 25-184

Date/Term (Beginning and End Dates/Year)

8/13/2026

APPLICABLE BOARD POLICY & STRATEGIC PLAN GOAL:

05.1

Goal 4E: Boone County Schools will provide safe, clean, learner ready facilities. 1. Prioritize the district facilities plan to ensure alignment with the desired state as directed by the strategic plan.

DESCRIBE USE OF CONTRACT/PURCHASE/AGREEMENT

Change Order #1 – This Change Order includes the following:

Proposal 1R: Per ESI 1, delete one cabinet unit heater, tag CH-119, from the project, including deduct for controls programming, wiring, etc.

DEDUCT $5,086.00

Proposal 3R: Per RFI 9 response, provide one additional fan coil with valve packs, model #FCJB040, that was missing from equipment schedule. Additional bond costs are included.

ADD $5,313.00

Proposal 5: Delete scope associated with replacing and re-piping one chilled water filter feeder.

DEDUCT $1,072.00

Proposal 8: Delete an office container from the project and utilize school cafeteria for project meetings.

DEDUCT $2,050.00

Proposal 10: Per ESI 2, change one water heater from a BTH-300A water heater to a BTH-199 heater.

ADD $303.00

FUNDING FOR PURCHASES AND OTHER REQUESTS:

Total Cost

DECREASE  $2,592.00

New Contract Sum $3,322,408.00

Funding Source

Cash - Building Fund

*If more than one funding source, list below along with amount or percent for each source

N/A

IF THIS IS A GRANT, ENTER AMOUNT TO BE AWARDED:

RECOMMENDATION:

I recommend the Board approve Change Order #1 for Goodridge Elementary School Plumbing and HVAC Upgrades,      BG 25-184, as presented.

CONTACT PERSON: (submitter)

Kim Best, Assistant Superintendent of Operations